## WPP Sitewise 31.03.2022
Site wise Wind Farm Installations in Maharashtra as on 31st March, 2022 (5010.71 MW)
Name of site | District | No. of Wind Turbines | Sub Total | Wind Turbine Make | Capacity KW per Turbine | Total Capacity MW | Sub Total | Remark
Dahanu | Thane | 1 |  | Vestas | 90 | 0.09 |  | Demo
Deogad | Sindhudurga | 10 |  | Vestas | 55 | 0.55 |  | Demo
|  | 10 |  | Bonus | 55 | 0.55 |  | Demo
|  | 8 |  | Suzlon Energy | 1250 | 10
Vijaydurga | Sindhudurga | 6 |  | BHEL | 250 | 1.5 |  | Demo
Sub-total (1) |  |  | 35 |  |  |  | 12.69
Chalkewadi | Satara | 8 |  | BHEL | 250 | 2 |  | Demo
|  | 3 |  | Suzlon Energy | 1250 | 3.75 |  | Demo
|  | 2 |  | NEPC | 225 | 0.45
|  | 1 |  | REPL | 320 | 0.32 |  | Dismantled
|  | 16 |  | Suzlon Energy | 350 | 5.6
|  | 8 |  | Vestas RRB | 225 | 1.8
|  | 10 |  | Vestas RRB | 500 | 5
|  | 20 |  | Enercon India | 230 | 4.6
|  | 8 |  | Enercon India | 600 | 4.8
Sub-total (2) |  |  | 76 |  |  |  | 28
Thoseghar | Satara | 36 |  | Vestas RRB | 225 | 8.1
|  | 52 |  | Enercon India | 230 | 11.96
|  | 18 |  | Enercon India | 600 | 10.8
|  | 8 |  | Enercon India | 800 | 6.4
|  | 7 |  | Suzlon Energy | 2100 | 14.7
Sub-total (3) |  |  | 121 |  |  |  | 51.96
Vankusavade | Satara | 540 |  | Suzlon Energy | 350 | 189
|  | 7 |  | Suzlon Energy | 1000 | 7
|  | 28 |  | NEG-Micon | 750 | 21
|  | 25 |  | Enercon India | 230 | 5.75
|  | 21 |  | Enercon India | 600 | 12.6
|  | 1 |  | IWPL/ NEG-Micon | 750 | 0.75
|  | 4 |  | IWPL | 250 | 1
|  | 1 |  | Vestas RRB | 225 | 0.225
|  | 11 |  | Vestas RRB | 500 | 5.5
Sub-total (4) |  |  | 638 |  |  |  | 242.825
Matrewadi | Satara | 25 |  | Enercon India | 230 | 5.75
|  | 30 |  | Suzlon Energy | 1500 | 45
|  | 2 |  | Vestas Wind Tech | 1650 | 3.3
|  | 10 |  | Pioneer Wincon | 250 | 2.5
Sub-total (5) |  |  | 67 |  |  |  | 56.55
Varekarwadi | Satara | 15 |  | Enercon India | 600 | 9
|  | 5 |  | Enercon India | 800 | 4
|  | 4 |  | Vestas Wind Tech | 1650 | 6.6
Sub-total (6) |  |  | 24 |  |  |  | 19.6
Ambheri | Satara | 24 |  | Vestas RRB | 600 | 14.4
|  | 4 |  | Elecon | 600 | 2.4
|  | 18 |  | Gamesa | 800 | 14.4
|  | 71 |  | Southern Windfarms | 225 | 15.975
|  | 66 |  | Shriram-EPC | 250 | 16.5
|  | 25 |  | Pioneer Wincon | 250 | 6.25
|  | 32 |  | Kenersys | 2000 | 64
Sub-total (7) |  |  | 240 |  |  |  | 133.925
Sadawaghpur | Satara | 78 |  | Suzlon Energy | 1250 | 97.5
|  | 34 |  | Suzlon Energy | 600 | 20.4
Sub-total (8) |  |  | 112 |  |  |  | 117.9
Agaswadi | Satara | 114 |  | Regen | 1500 | 171
|  | 26 |  | Gamesa | 850 | 22.1
Sub-total (9) |  |  | 140 |  |  |  | 193.1
Chavneshwar | Satara | 92 |  | Enercon India | 800 | 73.6
Sub-total (10) |  |  | 92 |  |  |  | 73.6
Kas | Satara | 12 |  | Shriram-Leitwind | 1500 | 18
|  | 3 |  | Suzlon Energy | 600 | 1.8
|  | 5 |  | Regen | 1500 | 7.5
Sub-total (11) |  |  | 20 |  |  |  | 27.3
Palsi | Satara | 19 |  | Vestas Wind Tech | 1650 | 31.35
|  | 106 |  | GE India | 1600 | 169.6
Sub-total (12) |  |  | 125 |  |  |  | 200.95
Maloshi | Satara | 24 |  | Suzlon Energy | 1250 | 30
Sub-total (13) |  |  | 24 |  |  |  | 30
Humbarne | Satara | 12 |  | Suzlon Energy | 1500 | 18
Sub-total (14) |  |  | 12 |  |  |  | 18
Bothe | Satara | 35 |  | Vestas Wind Tech | 2000 | 70
|  | 56 |  | Suzlon Energy | 2100 | 117.6
Sub-total (15) |  |  | 91 |  |  |  | 187.6
Khokade | Satara | 1 |  | Suzlon Energy | 2100 | 2.1
|  | 5 |  | Vestas Wind Tech | 2000 | 10
Sub-total (16) |  |  | 6 |  |  |  | 12.1
Khanapur | Satara | 44 |  | Winworld | 800 | 35.2
Sub-total (17) |  |  | 44 |  |  |  | 35.2
Ghotane | Satara | 10 |  | Suzlon Energy | 1500 | 15
Sub-total (18) |  |  | 10 |  |  |  | 15
Girijashankarwadi | Satara | 23 |  | Kenersys | 2000 | 46
|  | 7 |  | Kenersys | 2400 | 16.8
Sub-total (19) |  |  | 30 |  |  |  | 62.8
Vaspeth | Sangli | 18 |  | Global Wind | 2500 | 45
|  | 10 |  | Kenersys | 2000 | 20
|  | 10 |  | Gamesa | 850 | 8.5
|  | 97 |  | Regen | 1500 | 145.5
|  | 89 |  | Gamesa | 2000 | 178
|  | 9 |  | Suzlon Energy | 2100 | 18.9
|  | 14 |  | Winwind | 1000 | 14
|  | 19 |  | Inox Wind | 2000 | 38
|  | 14 |  | NuPower | 2050 | 28.7
Sub-total (20) |  |  | 280 |  |  |  | 496.6
Gudepachgani | Sangli | 8 |  | Enercon India | 230 | 1.84 |  | Demo
|  | 14 |  | Enercon India | 230 | 3.22
|  | 12 |  | Enercon India | 600 | 7.2
|  | 63 |  | Enercon India | 800 | 50.4
|  | 32 |  | Suzlon Energy | 600 | 19.2
|  | 24 |  | NEG-Micon | 1650 | 39.6
|  | 8 |  | Suzlon Energy | 1500 | 12
Sub-total (21) |  |  | 161 |  |  |  | 133.46
Dhalgaon | Sangli | 14 |  | Enercon India | 600 | 8.4
|  | 51 |  | Suzlon Energy | 600 | 30.6
|  | 132 |  | Suzlon Energy | 1250 | 165
|  | 49 |  | Suzlon Energy | 1500 | 73.5
Sub-total (22) |  |  | 246 |  |  |  | 277.5
Bhud | Sangli | 102 |  | Regen | 1500 | 153
|  | 26 |  | Vestas Wind Tech | 1650 | 42.9
|  | 3 |  | Ghodawat Industries | 1650 | 4.95
|  | 5 |  | Shriram EPC | 250 | 1.25
|  | 9 |  | Inox Wind | 2000 | 18
|  | 11 |  | Gamesa | 2000 | 22
Sub-total (23) |  |  | 156 |  |  |  | 242.1
Mendhegiri | Sangli | 58 |  | Gamesa | 850 | 49.3
|  | 2 |  | Gamesa | 2000 | 4
|  | 2 |  | Suzlon Energy | 2100 | 4.2
|  | 37 |  | Inox Wind | 2000 | 74
Sub-total (24) |  |  | 99 |  |  |  | 131.5
Jath | Sangli | 18 |  | Suzlon Energy | 2100 | 37.8
Sub-total (25) |  |  | 18 |  |  |  | 37.8
Jath-1 | Sangli | 9 |  | Suzlon Energy | 2100 | 18.9
Sub-total (26) |  |  | 9 |  |  |  | 18.9
Jath - 2 | Sangli | 15 |  | Suzlon Energy | 2100 | 31.5
Sub-total (27) |  |  | 15 |  |  |  | 31.5
Sindur | Sangli | 28 |  | Suzlon Energy | 2100 | 58.8
Sub-total (28) |  |  | 28 |  |  |  | 58.8
Sanmadi | Sangli | 24 |  | Regen | 1500 | 36
Sub-total (29) |  |  | 24 |  |  |  | 36
Jadhavwadi | Sangli | 27 |  | Inox Wind | 2000 | 54
|  | 1 |  | Gamesa | 2000 | 2
Sub-total (30) |  |  | 28 |  |  |  | 56
Bhendawade | Kolhapur | 30 |  | Gamesa | 850 | 25.5
|  | 18 |  | Inox Wind | 2000 | 36
|  | 3 |  | Kenersys | 2000 | 6
Sub-total (31) |  |  | 51 |  |  |  | 67.5
Kavadya Dongar | A'Nagar | 57 |  | Suzlon Energy | 1000 | 57
|  | 6 |  | Suzlon Energy | 1250 | 7.5
Sub-total (32) |  |  | 63 |  |  |  | 64.5
Panchpatta | A'nagar & Nashik | 24 |  | Suzlon Energy | 1500 | 36
|  | 65 |  | Enercon India | 800 | 52
|  | 2 |  | Suzlon Energy | 2100 | 4.2
|  | 55 |  | Gamesa | 850 | 46.75
Sub-total (33) |  |  | 146 |  |  |  | 138.95
Khandke | A'nagar | 192 |  | Enercon India | 800 | 153.6
Sub-total (34) |  |  | 192 |  |  |  | 153.6
Nandurpathar | A'nagar | 4 |  | Kenersys | 2625 | 10.5
|  | 8 |  | Kenersys | 2400 | 19.2
Sub-total (35) |  |  | 12 |  |  |  | 29.7
Sautada | Beed | 52 |  | RRB Energy | 600 | 31.2
|  | 32 |  | Shriram-EPC | 250 | 8
Sub-total (36) |  |  | 84 |  |  |  | 39.2
Gangadevi | Beed | 35 |  | Suzlon Energy | 2100 | 73.5
Sub-total (37) |  |  | 35 |  |  |  | 73.5
Mirkala | Beed | 40 |  | Gamesa | 2000 | 80
Sub-total (38) |  |  | 40 |  |  |  | 80
Brahmanwel | Dhule | 5 |  | Windia | 600 | 3
|  | 4 |  | Windia | 750 | 3
|  | 20 |  | NEG-Micon | 750 | 15
|  | 23 |  | NEG-Micon | 1650 | 37.95
|  | 16 |  | Suzlon Energy | 600 | 9.6
|  | 377 |  | Suzlon Energy | 1250 | 471.25
|  | 4 |  | Suzlon Energy | 1500 | 6
|  | 1 |  | Suzlon Energy | 2100 | 2.1
Sub-total (39) |  |  | 450 |  |  |  | 547.9
Jaibhim | Dhule | 16 |  | Suzlon Energy | 2100 | 33.6
Sub-total (40) |  |  | 16 |  |  |  | 33.6
Chakala | Nandurbar | 154 |  | Suzlon Energy | 1250 | 192.5
|  | 66 |  | Suzlon Energy | 1500 | 99
|  | 10 |  | Suzlon Energy | 2100 | 21
Sub-total (41) |  |  | 230 |  |  |  | 312.5
Motha | Amrawati | 2 |  | Suzlon Energy | 1000 | 2 |  | Demo
|  | 2 |  | Winwind | 1000 | 2
Sub-total (42) |  |  | 4 |  |  |  | 4
Aundhewadi | Nashik | 13 |  | Enercon India | 800 | 10.4
|  | 28 |  | Suzlon Energy | 1500 | 42
Sub-total (43) |  |  | 41 |  |  |  | 52.4
Ramoshiwadi & Godhewadi | Nashik | 7 |  | Suzlon Energy | 2100 | 14.7
Sub-total (44) |  |  | 7 |  |  |  | 14.7
Isapur | Yavatmal | 20 |  | Regen | 1500 | 30
Sub-total (45) |  |  | 20 |  |  |  | 30
Andhralake | Pune | 133 |  | Enercon India | 800 | 106.4
Sub-total (46) |  |  | 133 |  |  |  | 106.4
Anjanadi | Aurangabad | 10 |  | Suzlon | 2100 | 21
Sub-total (47) |  |  | 10 |  |  |  | 21
Kavaldhara | Osmanabad | 38 |  | Gamesa | 2000 | 76
Lohara |  | 63 |  | Gamesa | 2000 | 126
Sub-total (48) |  |  | 101 |  |  |  | 202
TOTAL |  |  | 4505 |  |  | 5010.71 | MW*
*As on 31st March, 2022